T95: time to reach 95% of the actual value after a change

DO has the longest T95 @ <60s

Example:

1) DO start = 7.35 mg/L

2) DO end = 4.35 mg/L

3) 3.00 mg/L drop

a) after 60 s the expected error is 5% so:

b) 3.00*0.05 = 0.15 mg/L

c)