- TROLL_read_data()

  - Check file exists at given path

  - Identify the data start line by searching for “Date Time”

  - Read in data

    - Check that “Date Time” column exists after data read

    - Format datetime column

    - Check that seconds exist in data

- TROLL_rename_cols()

  - Detects presence of Troll-Com columns using serial #’s

    - Removes Troll-Com temperature, if present

  - Removes serials numbers inside parentheses

  - Uses pattern matching of raw column names to the internal “troll_column_dictionary” to rename columns into standardized form.

    - If an unknown column is present, will error and tell you to update the dictionary

      - Current workaround w/o updating dictionary would be to remove that column manually before processing

    - If pattern matching results in two column names, it will error

- Is_stationary()

  - Automatically computes sample interval (internal utility function), and warns if time jumps exist in data

    - If sampling interval is > 30s, sensor assumed fixed in position and all “is_stationary_status” returned as 999

  - Detects stationary periods in data using raw depth

    - A stationary block is flagged when the data in “depth_col” remains less than the user supplied “depth_range_threshold” across a rolling range window

    - User input  “rolling_range_secs” sets the window width for rolling range calculation for detecting stationary periods

  - Optionally trims the front end of stationary periods

    - User input “start_trim_secs” allows the user to determine the length of time to trim off the start of a stationary period

      - By default, a minimum of one observation is flagged unstable at the start of each stationary period

  - Flag stationary periods

    - Appends column “is_stationary_status” to input dataframe

    - Stationary periods lasting longer than “stationary_secs” are flagged as 999

    - Stationary periods > 0 but < “stationary_secs” are flagged with their stationary duration in seconds

    - non-stationary periods are flagged as 0

  - Returns actual depth of stationary period

    - Appends column “stationary_depth” to input dataframe equal to the mean depth across the stationary period

  - Optionally plots stationary periods and rolling range

    - Nice for tuning inputs, a stacked plot showing stationary periods color coded by duration